## Table
|  | Cost frequency |  |  |  |  | Additionnal associated costs |  | Breakdown of costs in the institution
| INDIRECT COSTS COST ITEMS | Once | Yearly | Biyearly | Monthly | Weekly | Maintenance/Calibration costs | Replacement (new purchase when defected) | Costs shared | Paid by institution
Sampling | Needles | x | [5 empty] | x
| Gauze |  | x
| Garot | x | [5 empty] | x
Sample Administration | Labels printer | x | [6 empty] | x
| 2D barcode reader | x
| Scanner | x |  |  |  |  | x |  | x
Processing | Automatic aliquoter (e.g., TECAN) | x |  |  |  |  | x
| Automatic extractor (e.g., TECAN) | x |  |  |  |  | x |  | x
| TapeStation | x |  |  |  |  | x
| Qubit | x
| Qiagen | x
| Nanodrop | x |  |  |  |  | x
| Cupboard | x | [7 empty] | x
| Centrifuge | x |  |  |  |  | x
| Cell counter | x
| Pipets | x |  |  |  |  | x
| Cryostat device | x |  |  |  |  | x
| Cryostate holders (piece to attach the tissue) | x
| Pinzets, brushes to handle tissue cuts | x | [5 empty] | x
| OCT medium to embed the sample to make cryosections |  | x
| Precision balance Mettler Toledo | x |  |  |  |  | x
| Water baths | x | [6 empty] | x
| Microtom | x |  |  |  |  | x |  | x
| Microscope | x | [6 empty] | x
| VIP tissue processor Tissue-Tek VIP® 6 AI | x |  |  |  |  | x |  | x
| Isopentan for Sample flash freezing |  |  | x
| Flash freezing device Device to maintain Isopentan at -80 °C to flash freeze the samples | x
| Xylol |  |  |  | x
| Formalin |  |  |  | x
| Alcohol |  |  |  | x
| Parafin |  |  |  | x
| Embedding workstation | x | [6 empty] | x
| Embedding molds | x | [6 empty] | x
| FluidX tubes (including pre-labelled racks) |  | x
Storage | Freezer | x |  |  |  |  | x | x
| Fridge +4°C | x |  |  |  |  | x
| Metal container (TBB box) recipient to put ispopenten in dry ice | x
Liquid Nitrogen
Vapor Nitrogen
| Temperature monitoring system Elpro Sensors, 4 devices ou Labguard | x |  |  |  |  | x |  | x
| FluidX scanner | x
| Gloves for -80 °C (TBB box) | x | [5 empty] | x
| Freezer-80 °C | x
| Mr. Frosty Slow freezing container | x
Distribution | Box for material delivery to OP | x
Covering all categories | Paper |  |  | x | [5 empty] | x
| Gloves laboratory nitril gloves |  |  |  | x
| LIMS software | x |  |  |  |  | x
| Other databases | x |  |  |  |  | x
| Label printer | x
| Label toner |  | x
| IT |  | x
| Facilities Maintenance | [5 empty] | x |  |  | x
| Equipments Maintenance | [5 empty] | x | x |  | x
| Dry ice |  |  |  |  | x |  |  |  | x
| Tissues Tisues for cleaning slides and tools |  |  |  | x
| Metal gloves | x
| Central costs (overhead) Facility Maintenance: software security computers IT support HR support technical support |  | x
| Overhead 2022 water space phones electricity support from University |  | x
| Rent incl. Cleaning | [8 empty] | x
| Wastes | x